JEPB Monthly Meeting Agenda

Monday, September 25, 2023

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 851

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

- CHAIRMAN’S REMARKS

# II. APPROVAL OF MINUTES

- August 21, 2023, Monthly Meeting Summary

III. CONSENT ORDERS						MELISSA LONG

Air

None

Water

- Christian Brothers LLC, [WP-23-13 at 7541 Lem Turner Road] Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; failure to comply with Wastewater Collection/Transmission System design standards; failure to notify EQD of Discharge from the System.

Respondent’s corrective actions:	Discharge abated 03/06/2023

Consent Order settlement fee: 	$8,000 with mitigation potential

02/8/2023	Discharge of untreated wastewater to the ground and surrounding

environment; Failure to operate and maintain the System to remain operational; Failure to notify EQD of Discharge from the System and provide required records

Potential for Harm Major - Discharge due to equipment out of service (non-transmission)

Extent of Deviation Major: Direct discharge to MS4, surface water, wetland, or groundwater or with sampling results 70% and above over standard

Consent Order requirements:

      - Maintain Compliance with operation, maintenance, and recordkeeping requirements, effective immediately.

      - Submit the mandatory maintenance records for the System to EQD by the last day of each month beginning July 31, 2023

      - Initial Engineer Report:  Within 60 calendar days of the effective date of this Consent Order

- Q and H LLC, [WP-23-47 at 5161 Beach Boulevard] Unpermitted Discharge of untreated wastewater to the ground, surrounding environment and stormwater draining to MS4; Allowing untreated wastewater into the storm sewer system; Failure to notify EQD of Discharge from the System and Failure to provide required records; Failure to provide safe, dry access to the Pump Station; Failure to perform required maintenance; and Failure to provide required records.

Respondent’s corrective actions:	overload heaters were replaced

Consent Order settlement fee: 	$8,000 with mitigation potential

07/12/2023	Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to notify EQD of Discharge from the System and provide required records

Potential for Harm Major - Discharge due to equipment out of service (non-transmission)

Extent of Deviation Major: Direct discharge to MS4, surface water, wetland, or groundwater or with sampling results 70% and above over standard

Consent Order requirements:

- Maintain Compliance with operation, maintenance, and recordkeeping requirements, effective immediately.

- Submit the mandatory maintenance records for the System to EQD by the last day of each month beginning upon execution of the consent order

- INITIAL ENGINEER REPORT:  Within 60 calendar days of the effective date of this Consent Order

- Jax Edgewood Partners, LLC, [WP-23-44 at 0 12th Street] Unpermitted discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements.

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 	$8,000

July 6, 2023	Insufficient BMPs/failure to maintain BMPs resulting in unlawful discharge of non-stormwater and turbid water to MS4

Sample at point of discharge from the Project to MS4 – 700 NTUs

Sample downstream of the point of discharge lab results – 1500 NTUs

Sample upstream of the point of discharge lab results – 3.4 NTUs

State water quality standards for turbidity is <29 NTUs above natural background conditions.

Potential for Harm – Major:	 Discharge of untreated wastewater to environment

Extent of Deviation – Major:  Direct turbid discharge to MS4 with sampling results of 170% and above over standard.

Consent Order requirements:

- Immediately upon the effective date: Monitor, sample, notify EQD and report to EQD until Final Stabilization

- Within 14 days of the effective date: Perform/Revise BMP Assessment

- Within 21 days of the effective date: Submit BMP Assessment to EQD

- Within 28 days of the effective date: Implement BMP Assessment

- Atlantic Site & Marine, Inc. [WP-23-49 at 0 Old St. Augustine Road] Discharge of non-stormwater to City Municipal Separate Storm Sewer System (“MS4”); Failure to comply with erosion and sediment control requirements as of 9/14/23.

Consent Order settlement fee: 	$3,500

July 28, 2023	 Insufficient BMPs/failure to maintain BMPs resulting in unlawful discharge of non-stormwater and turbid water to MS4

Sample at point of discharge from the Project to MS4 – 800 NTUs

Sample downstream of the point of discharge lab results – 900 NTUs

Sample upstream of the point of discharge lab results – 14 NTUs

State water quality standards for turbidity is <29 NTUs above natural background conditions.

Potential for Harm – Moderate: 	Discharge of non-stormwater with some erosion and sediment control measures installed but not properly maintained

Extent of Deviation – Major: 	Direct turbid discharge to MS4 with sampling results of 170% or above over standard.

Consent Order requirements: Penalty only

IV. ENFORCEMENT REPORT 						MELISSA LONG

# V. PRESENTATION(s)

# VI. NEW BUSINESS

- Noise Variance Extension – Living Stream Church	JAMES RICHARDSON

- Noise Variance – DCPS Southside Estates Elementary

- JEPB Environmental Achievement Awards		JAMES RICHARDSON

# VII. PUBLIC HEARING(s)

  - None

# VIII. OLD BUSINESS

  - Retreat

  - Education & Public Outreach

# IX. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						DAN DURBEC

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

X.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XI. ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XII. COMMENTS FROM THE PUBLIC

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Steering Committee – October 9, 2023, at 4:00 pm

- JEPB Monthly Meeting – Monday, October 23, 2023, at 5:00 pm

# XV. ADJOURNMENT