JEPB Monthly Meeting Agenda

Monday, December 13, 2021

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 110

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

# I. CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- Minutes of November 15, 2021, Monthly Meeting

IV. CONSENT ORDERS						TREE KILBOURN

## Air/Noise

## Water

- Blessed by Deal, Inc. and RTM Operating Company, LLC (WP-21-42) - Unlawful discharge of untreated wastewater to ground, surrounding environment and private stormwater draining to MS4 and surface waters; Failure to maintain gravity wastewater collection/ transmission system to function as intended; Unlawful bypass of system or treatment facility

Respondent’s corrective actions:	Sewage cleaned up from surface areas, grease trap maintenance performed, line jetted, stormwater mapped to confirm private stormwater drain

Consent Order settlement fee: 	$2,300

6/30/2021	Direct discharge of untreated wastewater to ground, surrounding environment and private stormwater, failure to maintain system and bypass of its treatment facility; private stormwater drains to MS4 and surface waters

Moderate potential for harm and moderate extent of deviation

Consent Order requirements:		None

- JEA and J.B. Coxwell Contracting, Inc. (WP-21-47) - Unlawful discharge of non-stormwater and turbid water to MS4; Failure to comply with erosion and sediment control requirements

Respondent’s corrective actions:	BMPs improved

Consent Order settlement fee: 	$6,000

6/28/2021	Insufficient BMPs/failure to maintain BMPs (stockpile stabilization/protections) resulting in unlawful discharge of non-stormwater and turbid water by overland flows to MS4

Sample taken in the MS4 at the point of discharge from the Project – 1100 NTUs

Sample taken upstream of the Project in the MS4 (background) – 3.1 NTUs

Major potential for harm and moderate extent of deviation

Consent Order requirements:	Within 14 days of the effective date: Perform/Revise BMP Assessment

Within 21 days of the effective date: Submit BMP Assessment to EQD

Within 28 days of the effective date: Implement BMP Assessment

Immediately upon the effective date: Monitor, sample, notify EQD and report to EQD until Final Stabilization

- Habitat for Humanity of Jacksonville, Inc. and Jax Utilities Management, Inc. (WP-21-63)  - Unlawful discharge of non-stormwater and turbid water to MS4; Failure to comply with erosion and sediment control requirements

Respondent’s corrective actions:	BMPs improved, site at Final Stabilization

Consent Order settlement fee: 	$4,900

8/23/2021	Inspection documented insufficient BMPs/failure to maintain BMPs resulting in unlawful discharge of non-stormwater to MS4

8/26/2021	Notice to Correct issued 8/24/2021 received by contractor

9/27/2021	Reinspection documented insufficient BMPs/failure to maintain BMPs resulting in unlawful discharge of non-stormwater and turbid water to MS4

Sample at point of discharge to MS4 – 650 NTUs

Sample downstream from the Project in MS4 - 200 NTUs

Sample upstream of the Project drainage flows and in the MS4 – 3.3 and 8.7 NTUs

State water quality standards for turbidity is <29 NTUs above natural background

[8.7 background + 29 = 37.7 NTUs allowed, Downstream 200 NTUs is more than 70% of allowed]

Direct discharge of nonstormwater to MS4 (no BMPs in most areas) with discharge not likely to reach surface water per NPDES mapping

Major potential for harm and minor extent of deviation

Consent Order requirements:		none

- Fereshteh P. Taba Living Trust, South Mandarin Office Park Condominium Association n/k/a South Mandarin Business Park Association, Inc., Sunnybrook, LLC, and MDC Coast 16, LLC l (WP-20-43) - Unlawful discharge of untreated wastewater to the ground and surrounding environment; Failure to maintain wastewater collection/transmission system with lift station to function as intended; Unlawful bypass of system or treatment facility; Failure to have compliant OMR Agreement; Failure to notify EQD of discharge and provide required records

Respondent’s corrective actions:	Engineers hired by car wash property and commercial properties

Consent Order settlement fee: 	$6,000

10/28/2020	Unlawful discharge of untreated wastewater to ground and surrounding environment near wetlands, failure to maintain with a bypass of treatment facility and failure to notify EQD

Major potential harm and moderate extent of deviation

Consent Order requirements:	DEP Permit application for new independent force main: 12/15/2021

OMR Agreement if continue to share force main: 1/31/2022

Revised Engineer Report depending on force main decision: 1/31/2022

DEP Request for approval for independent force main: 2/28/2022

12420 System repairs completed within 60 days’ notice by EQD

Monthly Status Report and maintenance records for both systems: 11/30/2021

V. ENFORCEMENT REPORT 						TREE KILBOURN

# VI. PRESENTATION(s)

- Plans to Meet BMAP Goals by 2023 – January Meeting

- Mercury Study – February Meeting

# VII.  PUBLIC HEARING(s)

- none

# VIII. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					KEALEY WEST

- KJB Commission						JAMES RICHARDSON

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

- JEPB Education & Outreach Committee			DAVID WOOD

IX.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

X.  ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XI. OLD BUSINESS

- None

# XII. NEW BUSINESS

- None

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Committees

No committee meetings in November or December 2021

Will resume in January 2022 on an as needed basis

- JEPB Steering Committee – January 10, 2022, at 4:00 pm

- JEPB Monthly Meeting – Tuesday, January 18, 2022, at 5:00 pm

# XV.  ADJOURNMENT