JEPB Monthly Meeting Agenda

Monday, April 17, 2023

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 1002

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

# I. CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- March 20, 2023, Monthly Meeting Summary

IV. CONSENT ORDERS						MELISSA LONG

Air

  - none

Water

- BBK Investment, LLC [WP-23-05 at 4317 University Boulevard South] Discharge of untreated wastewater to the ground and surrounding environment

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 		$8,000 with mitigation potential

03/21/2023	State water quality standards for E. Coli is not greater than 410 MPN / 100 ml for single day sampling 	Exceedance greater than 70%

Major potential for harm and Major extent of deviation - $8,000

Consent Order requirements:	March 2023   – Start monthly status reports.

April 28, 2023 - Plumber or Engineering report

- GSJ, L.P., [WP-23-07 at 7703 Hare-India-Jasper-Kona] Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to notify EQD of Discharge from the System

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 	$8,000 with mitigation potential

2/1/2023	Failure to maintain System at the Property which resulted in an unlawful discharge of untreated wastewater to the ground, surrounding environment, and stormwater draining to adjacent surface water

Water sample taken at point of discharge has a reading of 241,960 MPN / 100 ml

State water quality standards for E. Coli is not greater than 410 MPN / 100 ml for single day sampling. 	Exceedance greater than 70%

Major potential for harm and Major extent of deviation - $8,000

Consent Order requirements: 	March 2023   – Start monthly status reports.

April 28, 2023 - Plumber or Engineering report

- First Coast Energy, LLP, [WP-22-59 at 7750 Normandy Boulevard] Unpermitted Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to notify EQD of Discharge from the System

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 	$8,000 with mitigation potential

11/14/2022	State water quality standards for E. Coli is not greater than 410 MPN / 100 ml for single day sampling - Exceedance greater than 70%

Major potential for harm and Major extent of deviation - $8,000

Consent Order requirements:	March 31, 2023   – Start monthly status and maintenance reports.

May 31, 2023 - Engineering report

August 31, 2023 – Final Completion of Construction

V. ENFORCEMENT REPORT 						MELISSA LONG

# VI. PRESENTATION(s)

- Therapeutic Parks						DR. CASEY MAGEE

# VII. PUBLIC HEARING(s)

  - None

# VIII. OLD BUSINESS

  - Retreat – Follow-up Points?

  - Education & Public Outreach

# IX. NEW BUSINESS

- Noise Variance – Living Stream Church

  - ACTION – Waive JEPB Rule 1.602(e)

  - ACTION – Noise Variance Application Approval/Denial/Postponement

# X. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						DAN DURBEC

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

XI.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XII. ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Steering Committee – May 8, 2023, at 4:00 pm

- JEPB Monthly Meeting – Monday, May 15, 2023, at 5:00 pm

# XV. ADJOURNMENT