JEPB Monthly Meeting Agenda

Monday, August 15, 2022

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 110

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

# I. CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- Minutes of July 18, 2022, Monthly Meeting

IV. CONSENT ORDERS						TREE KILBOURN

## Air/Noise

- None

## Water

- A & S Hospitality Group LLC (WP-22-22) - Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater; Allowing stormwater to enter into a sewer designed to carry wastewater; Allowing wastewater to bypass the System or its Treatment Facility; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to perform required maintenance at the System and/or have required records; Failure to notify EQD of Discharge from the System and provide required records

Respondent’s corrective actions:

Reengage engineer to continue work

Consent Order settlement fee:

No new penalty assessed at this time. Consent Order is to ensure prior owner’s efforts are continued and completed

Consent Order requirements:

    - Emergency Repairs: Replace grease trap no later than July 31, 2022

    - Interim Engineer Report:  No later than August 31, 2022 [Project deadlines based on EQD accepted Engineer Report]

    - DEP Permit application (if required): Within 60 days of notification by EQD

    - Final Engineer Report:  December 31, 2022 or by deadline set by EQD after review of Engineer Report and/or DEP permit issuance

    - Monthly Status Report and Monthly Maintenance Records:  Beginning June 30, 2022

    - Stipulated penalties for noncompliance with deadlines and requirements

- Double Naught, Inc. (WP-22-25) - Discharge of untreated wastewater to the ground, surrounding environment and MS4; Failure to operate and maintain the System to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater; Allowing wastewater to bypass the System or its Treatment Facility; Failure to comply with Wastewater Collection/Transmission System design standards; Failure to notify EQD of Discharge from the System and provide required records

Respondent’s corrective actions:

Contractor removed wastewater and cleared lines. Engineer hired to review 	System

Consent Order settlement fee:

EQD reserves the right to assess and collect civil penalties for the violations outlined in this Consent Order and the attached Exhibit A following EQD’s review of the required Engineer Report or DEP Permit Application

Consent Order requirements:

- Complete Engineer Report:  No later than September 30, 2022 [Project deadlines based on EQD accepted Engineer Report]

- DEP Permit application (if required): Within 60 days of notification by EQD

- Final Engineer Report:  March 15, 2023 or by deadline set by EQD after review of Engineer Report and/or DEP permit issuance

- Monthly Status Report and Monthly Maintenance Records:  Beginning July 31, 2022

- Stipulated penalties for noncompliance with deadlines and requirements

- Leos Liquor Express Inc. (WP-22-21) - Unpermitted Discharge of untreated wastewater to the ground, surrounding environment and municipal separate stormwater sewer system (“MS4”); Failure to operate and maintain the System to remain operational, to function as intended, and to provide uninterrupted transmission of wastewater to the Regional Sewer Utility point of connection; Unlawful bypass of the System or its Treatment Facility; Failure to notify EQD of discharge and submit required records

Respondent’s corrective actions:

Discharge stopped

Consent Order settlement fee:

EQD reserves the right to assess and collect civil penalties for the violations outlined in this Consent Order and the attached Exhibit A following EQD’s review of the required Engineer Report or DEP Permit Application

Consent Order requirements:

- Engineer Report:  No later than August 31, 2022 [Project deadlines based on EQD accepted Engineer Report]

- DEP Permit application (if required): Within 60 days of notification by EQD

- Final Engineer Report:  12/31/2022 or by deadline set by EQD after review of Engineer Report and/or DEP permit issuance

- Monthly Status Report and Monthly Maintenance Records:  Beginning July 31, 2022

- Stipulated penalties for noncompliance with deadlines and requirements

V. ENFORCEMENT REPORT 						TREE KILBOURN

# VI. PRESENTATION(s)

- Aquifer Levels – SJRWMD - scheduled for September meeting

# VII. PUBLIC HEARING(s)

  - Noise Variance Application – Summit Contracting Group

# VIII. OLD BUSINESS

- None

# IX. NEW BUSINESS

  - Possible Retreat – DISCUSSION

  - Education & Public Outreach - DISCUSSION

# X. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						JAMES RICHARDSON

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

XI.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XII. ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Committees

Water Committee – TBD

Air Committee - TBD

- JEPB Steering Committee – September 12, 2022, at 4:00 pm

- JEPB Monthly Meeting – September 19, 2022, at 5:00 pm

# XV. ADJOURNMENT