JEPB Monthly Meeting Agenda

Monday, March 20, 2023

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 110

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

# I. CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- January 17, 2023, Monthly Meeting Summary

- February, 27, 2023, Board Retreat Summary

IV. CONSENT ORDERS						MELISSA LONG

Air

  - none

Water

- BLUE HILLS PRTNRS LLC [WP-22-64 at 5971 Ramona Boulevard] - Discharge of untreated wastewater to the ground and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to comply with Wastewater Collection/Transmission System design standards

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 	$8,000

Potential for Harm 	Major:  Direct discharge of untreated wastewater to environment as a result of noncompliant design or pump station equipment out of service

Extent of Deviation	Major: Direct discharge to MS4, surface water, wetland or groundwater or with sampling results 70% and above over standard

Mitigation is offered to offset penalty amount depending on final expenditures to upgrade wastewater system.

Consent Order requirements:

- Initial Engineer Report:  April 28, 2023

- DEP Permit application (if required):  Within 60 days of notification by EQD

- Final Engineer Report:  August 28, 2023 , or by deadline established by Engineer.

- Monthly Status Report:  Beginning 2/28/2023 with maintenance records

- Antoinette Properties of Jax LLC [WP-23-02 at 1501 Lane Avenue South] Discharge of untreated wastewater to the ground, MS4, and surrounding environment; Failure to operate and maintain the System to remain operational; Failure to comply with Wastewater Collection/Transmission System design standards

Respondent’s corrective actions:	Unknown

Consent Order settlement fee: 	$8,000

Potential for Harm 	Major:  Direct discharge of untreated wastewater to environment as a result of noncompliant design or pump station equipment out of service

Extent of Deviation	Major: Direct discharge to MS4, surface water, wetland or groundwater or with sampling results 70% and above over standard

Mitigation is offered to offset penalty amount depending on final expenditures to upgrade wastewater system.

Consent Order requirements:

    - Submit Engineer Report by April 1, 2023

    - Complete Engineering by August 1, 2023, or by deadline established by Engineer.

    - Submit Monthly Updates starting February 28, 2023

    - Submit Monthly Maintenance Records starting February 28, 2023.

Compliance Plan(s) / modification(s):

- City of Jacksonville, Public Works Department [Permit #0011224-966-DWC at 7698 Bailey Body Rd] - Failure to comply with Wastewater Collection/Transmission System design standards

Compliance Plan requirements:

  - Order and Install Telemetry within 90 days

  - Submit monthly status updates starting February 28, 2023.

V. ENFORCEMENT REPORT 						MELISSA LONG

# VI. PRESENTATION(s)

- COJ Emergency Preparedness Response - Hazardous Spills	Todd Smith, Chief

COJ Emergency Preparedness

# VII. PUBLIC HEARING(s)

  - None

# VIII. OLD BUSINESS

  - Retreat

  - Education & Public Outreach

  - 2023 Legislative Positions

# IX. NEW BUSINESS

- Water Conservation Month Resolution

# X. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						DAN DURBEC

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

XI.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XII. ENVIRONMENTAL QUALITY DIVISION REPORT 			MELISSA LONG

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Steering Committee – April 10, 2023, at 4:00 pm

- JEPB Monthly Meeting – Monday, April 17, 2023, at 5:00 pm

# XV. ADJOURNMENT