JEPB Monthly Meeting Agenda

Monday, March 21, 2022

Physical Location:

5:00 p.m. - Ed Ball Building

214 N. Hogan Street – Conference Room 110

BOARD MEETING AGENDA

CALL TO ORDER 							DAVID WOOD

# I. CHAIRMAN’S REMARKS

# II. COMMENTS FROM THE PUBLIC

# III. APPROVAL OF MINUTES

- Minutes of February 22, 2022, Monthly Meeting

- Minutes of February 28, 2022, Water Committee Meeting

IV. CONSENT ORDERS						TREE KILBOURN

## Air/Noise

  - none

## Water

- Dollar Tree Stores, Inc. [WP-21-65 and WP-19-69] - Failure to operate and maintain all wastewater collection/transmission systems so as to function as intended and to provide uninterrupted service; Failure to comply with sewerage design standards; Failure to perform required maintenance and/or keep required records

Respondent’s corrective actions:	Unknown for maintenance at all lift stations

Engineer hired to review Manifold System

Consent Order settlement fee: 	$11,600

(1)	For all stores with lift stations, failure to perform required maintenance and keep required monthly records with noncompliance greater than one year (unable to provide 5 years of records)

Minor Potential for Harm and Major Extent of Deviation = $900

9 known stores to date not in compliance, 900 x 9 = $8,100

(2)	Failure to comply with design standards (permit conditions) at Manifold System for 6 months to 1 year based on their limited lift station records

Moderate Potential for Harm / Major Extent of Deviation = $3,500

Consent Order requirements:

(1) Initial Engineer Report for Manifold System: 4/30/2022

(2) DEP Permit application if required: 60 days from date of notification from EQD

(3) OMR Agreement revisions: Within 90 days of discovery of any additional properties connected to Manifold System

(4) Final Engineer Report/DEP Clearance package: To be determined after review of Engineer Report

(5) Monthly Status Report for review of Manifold System: Last day of each month beginning 12/31/2021

(6) Monthly maintenance records for all lift stations: Last day of each month beginning 12/31/2021

V. ENFORCEMENT REPORT 						TREE KILBOURN

# VI. PRESENTATION(s)

- none

# VII.  PUBLIC HEARING(s)

- none

# VIII. OLD BUSINESS

- None

# IX. NEW BUSINESS

  - Funding Request – Nutrient Separating Baffle Boxes

  - Resolution – Water Conservation Month

# X. COMMISSION & JEPB COMMITTEE UPDATES & REPORTS

- Waterways Commission 					ADAM HOYLES

- KJB Commission						JAMES RICHARDSON

- JEPB Water Committee 					TERRY CARR

- JEPB Air Committee 					MICHAEL WILLIAMS

- JEPB Education & Outreach Committee			DAVID WOOD

XI.   EPB ADMINISTRATOR REPORT					JAMES RICHARDSON

XII.  ENVIRONMENTAL QUALITY DIVISION REPORT 		MELISSA LONG

# XIII. ITEMS REFERRED TO COMMITTEES

# XIV. NEXT SCHEDULED BOARD MEETING(s)

- JEPB Committees

Water Committee – TBD

Air Committee - TBD

- JEPB Steering Committee – April 11, 2022, at 4:00 pm

- JEPB Monthly Meeting – April 18, 2022, at 5:00 pm

# XV.  ADJOURNMENT